-1-

Price Summary   for kangaroo class room

- Sub Structure

1. Excavation and Earth work				            	Eth Birr: 31,985.72

2. Masonry Work						           Eth Birr: 41,550.32

3. Concrete Work            		                                               Eth Birr: 48,063.82

Sub Total A. -------------------------------------Eth 121,599.86

- Supper Structure

4. Concrete Work							Eth Birr: 29,669.78

5. Hollow Concrete Block Work					Eth Birr: 19,582.12

6. Roofing								Eth Birr: 19,027.38

7. Carpentry and Joinery						Eth Birr: 14,431.32

8. Metal Work								Eth Birr: 12,563.00

9. Plastering and pointing						Eth Birr: 1, 5395.65

10. Paving and flooring						Eth Birr: 13,572.00

11. Glazing								Eth Birr: 2,415.20

12. Painting								Eth Birr: 1,697.06

13. Ditch								Eth Birr: 1,618.01

14. Electrical installation                                                                       Eth Birr: 9,072.77

Sub total B.	Eth Birr.139,044.29

Total.	Eth Birr: 260,643.91

VAT(15%):Eth Birr:  39,096.58

Grand total Eth Birr: 299,740.77

Expected contingency =10%*260643.91Specification and Bill of Quantities for Kangaroo class Room /walmera project/

| Item | Description | Unit | Qty | U/Price | Total |
| --- | --- | --- | --- | --- | --- |
|  | A. Sub Structure 1.Excavation and Earth Work |  |  |  |  |
| 1.1 | Clear the site to move the topsoil to an average depth of 20cm | M2 | 72.25 | 16.20 | 1170.45 |
| 1.2 | Bulk excavation to reduce levels to a depth of 50cm starting from reduced G.L. (P.Q) | M3 | 44.10 | 41.53 | 1831.55 |
| 1.3 | Excavate for foundation footing to a depth no exceeding 200cm | M3 | 32.40 | 41.53 | 1345.63 |
| 1.4 | Excavate for foundation trench to a depth not exceeding 1500cmdepth | M3 | 35.37 | 41.53 | 1468.98 |
| 1.5 | Back fill with good dry selected material ram in layers not exceeding 20cm thick. | M3 | 272.04 | 52.43 | 14264.41 |
| 1.6 | Cart away surplus excavated material and deposit at a distance not exceeding 1km out the of site. | M3 | 126.12 | 46.86 | 5910.31 |
| 1.7 | 25cm thick basaltic or equivalent stone hard core well rolled consolidated blinded with crushed stone. | M3 | 43.56 | 137.61 | 5994.39 |
|  | Total carried to summary 2. Masonry Work |  |  |  | 31,985.72 |
| 2.1 | 50cm thick basaltic or equivalent stone masonry foundation wall below NGL, bedded and jointed in cement mortar 1.4 | M3 | 21.20 | 1273.79 | 27004.45 |
| 2.2 | 50cm thick hard rachitic semi dressed stone masonry foundation wall with an average height of 50cm above reduced ground level, bedded and jointed in cement mortar 1:2:4 (This item be executed only if the site has slope) | M3 | 10.5 | 1273.79 | 13374.79 |
| 2.3 | Construct stone masonry staircase with cement mortar of 1:4 | M3 | 0.89 | 466.65 | 415.32 |
| 2.4 | Apply pointing to stone masonry foundation wall above ground level in cement mortar 1:3 | M2 | 14 | 53.98 | 755.76 |
|  | Total Carried to summary |  |  |  | 41,550.32 |

| Item | Description | Unit | Qty | U/Price | Total |
| --- | --- | --- | --- | --- | --- |
|  | 3. Concert Work |  |  |  |  |
| 3.1 | 5cm thick lean concrete C-17 150kg/Cement/m3 of concrete under footing pad only | M2 | 12.96 | 141.28 | 1831.05 |
| 3.2 | Reinforced concert, class-25, 360kg cement/m3 of concrete, filled in to for work and vibrated around reinforcement bars. Formwork and reinforcement bears are to be measured separately | M3 |  |  |  |
|  | A. In footing pad | M3 | 3.24 | 1509.75 | 4891.59 |
|  | B. In footing column | M3 | 1.56 | 1509.75 | 2355.21 |
|  | C. In grade beam | M3 | 2.18 | 1509.75 | 3291.25 |
|  | D. In 10cm thick R.C. floor slab, concrete quality C-20, 320kg cement/ m3 of concrete, evenly spread | M2 | 10.89 | 193.79 | 2110.44 |
| 3.3 | Provide, cut and fix in position sawn zigba formwork or equivalent |  |  |  |  |
|  | A. To footing pad & foundation column | M2 | 36 | 107.41 | 3866.82 |
|  | B. To grade beam | M2 | 17.52 | 107.41 | 1881.85 |
| 3.4 | Provide, cut and fix in position steel reinforcement bars according to drawing. |  |  |  |  |
|  | Unit price shall include cutting bending, placing in position and tying wires |  |  |  |  |
|  | ( 8mm | Kg | 152.36 | 23.65 | 3603.31 |
|  | ( 12mm & above | Kg | 850.25 | 28.15 | 24232.13 |
|  | Total carried to summary |  |  |  | 48063.82 |
|  | B. Super Structure |  |  |  |  |
|  | 4. Concrete Work |  |  |  |  |
| 4.1 | Reinforced concrete class C-25, 360kg cement/m3 filled into formwork and vibrates around reinforcement and. Reinforcement and form work are measured separately. |  |  |  |  |
|  | A. R.C elevation column. | M3 | 1.26 | 1509.75 | 1902.29 |
|  | B. In R. top tie beam & lintel | M3 | 2.18 | 1509.75 | 3291.25 |
|  | C. In 6 x 25cm R.C Window sill or precast Window sill, type WCIA | ml | 0.48 | 195.99 | 94.07 |
| 4.2 | Provide cut & fix in position steel reinforcement bar according to drawing, cut bent and placed in position the unit price shall include cutting. Bending and placing in position |  |  |  |  |
|  | ( 8mm | Kg | 183.61 | 23.65 | 4342.37 |
|  | ( 12mm & above deformed bars for column, tie beam & lintel | Kg | 414.60 | 28.15 | 11670.99 |
| 4.3 | Provide, Cut and fix in position swan Zigba wood formwork or equivalent for: |  |  |  |  |
|  | A. R.C Columns | M2 | 21.60 | 171.94 | 3714.05 |
|  | B. Sides of the top tie beam & lintel | M2 | 24.50 | 171.94 | 4212.70 |
|  | C. Sides of window sill | M2 | 2.40 | 184.05 | 441.73 |
|  | Total Carried to Summary |  |  |  | 29,669.78 |
| Item | Description | Unit | Qty | U/Price | Total |
|  | 5. Concrete Hollow Block Work |  |  |  |  |
| 5.1 | 20 x 20 x 40 cm Concrete hollow block walling bedded in compo mortar 1:4 Internal walls are let for plastic paint and external walls are left for pointing | M2 | 86.80 | 225.69 | 19582.12 |
|  | Total Carried to Summary |  |  |  | 19,582.12 |
|  | 6. Roofing |  |  |  |  |
| 6.1 | G-28 galvanized Corrugated iron sheet roofing fixed to 5 x 7 cm Zigba purling at c/c 90cm and ( 10-12cm eucalyptus trusses. Each truss shall be firmly fixed with ( 6mm plain bars to concrete tie beam and column, all done according to roof truss drawing. Unit price includes G-28 flat metal roof ridge cover (dev.500mm) and 3 coats of wood preservative paint to all truss members and roof purling. Horizontal projection of roof area shall be taken for measurement. | M2 | 89.96 | 197.06 | 17727.84 |
| 6.2 | 04mm galvanized sheet for roof flashing on gable sides | Ml | 19.69 | 66.00 | 1299.54 |
|  | Total Carried to Summary |  |  |  | 19,027.38 |
|  | 7. Carpentry and Joint |  |  |  |  |
| 7.1 | Al structural members shall be well seasoned, straight and free of any harmful defects. Each truss joint shall be connected with band iron and truss shall be firmly anchored to concrete to tie beam with ( 6mm plain bars. |  |  |  |  |
|  | A. Eucalyptus truss, TR E-3250 D | No | 52.00 | 87.97 | 4574.82 |
|  | B. Zigba roof pulin in 70 x 50mm | Ml | 112.96 | 19.52 | 2205.25 |
| 7.2 | Supply and fix 20 x 25cm kararo or equivalent fascia board including three coats of weather resistant paint. | Ml | 24.00 | 85.00 | 2040.00 |
| 7.3 | 8mm Chip wood ceiling, divided into 60x120cm panels, wit 1cm truss between joints, fixed to and including 5 x 4cm sawn Zegba wood battens in both directions, including 2 x 4cm tid or equivalent corner ceiling list. | M2 | 48.88 | 92.42 | 4517.48 |
| 7.4 | 0.8mm thick finely CIS soft it, fixed and including 4 x 5cm Zigba wood battens c/c 60cm both ways, including 3 coats of synthetic enamel paint. | M2 | 13.25 | 72.60 | 962.01 |
| 7.5 | Supply and fix 200 x 400mm vent opening 2mm wire mesh, wood lipped.\or equivalent other material along the gable side \ | No | 2.0 | 65.88 | 131.76 |
|  | Total Carried to summary |  |  |  | 14,431.32 |

| Item | Description | Unit | Qty | U/Price | Total |
| --- | --- | --- | --- | --- | --- |
|  | 8. Metal Work |  |  |  |  |
|  | All metal doors and windows shall be fabricated from locally manufactured frame, 1.2mm LTZ, (as specified on the drawing) with the necessary iron mangy, accessories and 3 coats of synthetic enamel pot. Glazing is measured separately. |  |  |  |  |
| 8.1 | Steel door, externally cladode with 0.8mm finely CIS or 1.2mm flat iron. Type X-DIA, Size 85 x 217cm | M2 | 8.9 | 750.00 | 7298.00 |
| 8.2 | Steel Windows, as indicated on the door and window schedule, Type X-WIC, size 0.90 x2.60cm | M2 | 7.02 | 750.00 | 5265.00 |
|  | Total Carried to summary |  |  |  | 12,563.00 |
|  | 9. Plastering and Painting |  |  |  |  |
| 9.1 | Apply three coats of cement mortar plaster 1:3 to all internal walls, External beams & columns, | M2 | 88.32 | 151.33 | 13365.46 |
| 9.2 | Apply pointing in cement mortar 1:3 to all external CHB walls | M2 | 94.80 | 21.41 | 2029.65 |
|  | Total Carried to summary |  |  |  | 15,395.13 |
|  | 10. Paving and Flooring |  |  |  |  |
| 10.1 | cement screed flooring, bedded and jointed in cement mortar 1:3 unit price shall include cement mortar bedding | M2 | 43.56 | 192.15 | 8370.05 |
| 10.1.1 | Ceramic wall and flooring bedded and jointed in cement mortar 1:2 unit price includes cement mortar bedding ,ceramic tiling and cleaning too. | M2 | ------ | ------ | ------- |
| 10.2 | Ceramic title skirting, sit in and including cement motor 1:3 | Ml | - | ----- | ------ |
| 10.3 | Roughly dressed stone pavement all around the building & 20cm wide around the external edge of the ditch, bedded in 10cm sand bed or red ash, jointed cement in mortar 1:3, and pavement must have a minimum of 2% slope our ward from the building including pointing work | M2 | 26.67 | 195.05 | 5201.95 |
|  | Total Carried to summary |  |  |  | 13,572.00 |
|  | 11. Glazing |  |  |  |  |
| 11.1 | 4mm thick glazing quality, clear sheet glass panes, glazed to metal, including putty. |  | 12.56 | 192.29 | 2415.20 |
|  | Total Carried to summary |  |  |  | 2,415.20 |
|  | 12. Painting |  |  |  |  |
| 12.1 | Apply three coats plastic paint to all internal plastered wall surfaces external beams & columns | M2 | 86.80 | 12.82 | 1113.17 |
| 12.2 | Ditto as item 12.1 but to chip wood ceiling | M2 | 45.56 | 12.82 | 584.28 |
|  | Total Carried to summary |  |  |  | 1,697.06 |
|  | 13. Ditch |  |  |  |  |
| 13.1 | Supply and lay pre-cast half concrete pipe open channel around the building for external drainage system, out of precast cement pipe. Unit price shall include excavation of trench and supplying and spreading of red ash or selected material of minimum thickness 50mm below the pipe. ½ ( 300mm | ML | 24.56 | 65.88 | 1,618.01 |
|  | Total carried to summary |  |  |  | 1,618.01 |
| 14.0 | Supply and fix all the necessary fittings and pipe line installation of water tanker to store and supply potable water for the compound | lump sum | ----- | ----- | --------- |
| 15.00 | Supply and fix all the necessary fittings ,cables electrical wires with different dia.,switches,sockets, scatolas and conduits ,brakers,MDB /SDB boards etc apt to the block . | Lump sum | ----- | 9072.77 | 9,072.77 |
|  | Total carried to summary |  |  |  | 9,072.77 |